## Slide 1
Copyright © Dean Madden, 2010

## Slide 2
Sickle cell
Normal red blood cells

## Slide 6
Dominant allele (D)
Recessive allele (d)
DNA remains uncut
DNA is cut
Restriction
enzyme
6500 base-pairs (bp)
2500 bp
4000 bp

## Slide 8
Summary of procedure
DNA
Enzyme
Loading dye

## Slide 9
Microsyringe
Graduated tip
HOLD HERE
Do not touch the point!
10 µL
2 µL

## Slide 10
Mass
A microgram is one millionth of a gram
1 000 micrograms (µg) = 1 milligram (mg)
1 000 milligrams = 1 gram (g)
Volume
A microlitre is one millionth of a litre
1 000 microlitres (µL) = 1 millilitre (mL)
1 000 millilitres = 1 litre (L)

## Slide 11
IMPORTANT
Mix well after dispensing
20 µL
Numbered DNA sample
Dried restriction enzyme in tube
Label the tube twice (on the side and on the lid)

## Slide 12
Close the tubes and push them firmly into the foam floater
Incubate for 30–45 minutes at 37°C

## Slide 13
Frosted panel on this side
Molten agarose
55–60 °C

## Slide 14
Cut two electrodes
Carbon fibre
tissue
42 mm
22 mm

## Slide 15
Pour 2–3 mm depth of buffer over the gel before you ease the comb out

## Slide 16
Mix loading dye into each DNA sample
2 µL
Bromophenol blue loading dye
Cut DNA sample

## Slide 17
Label the end of the tank to show the contents of each well
Black card under the tank reveals the wells for loading
Load the DNA through the buffer, taking care not to puncture the wells as you do so

## Slide 18
Electrodes

## Slide 19
Direction of DNA movement
Place a comb over the tank to reduce evaporation

## Slide 20
Leave the stain on for 4 minutes only
Azure A stain

## Slide 21
DNA
Positively-charged Azure A binds to the negatively-charged phosphate groups of the DNA

## Slide 22
Area with DNA bands
Wells
Loading dye
Compare each band from each DNA sample with bands of known sizes in the DNA ‘ruler’

## Slide 23
DNA ‘ruler’ or ‘ladder’

## Slide 24
Unaffected
Affected
Carrier